# SOLAR EQUIPMENT

PRICE BENCHMARK CATALOG

Comprehensive Pricing Guide for Zimbabwe Market - December 2025

# 1. SOLAR PANELS (Photovoltaic Modules)

High-efficiency monocrystalline and bifacial solar panels for residential and commercial installations.

| Model / Brand | Wattage | Type | Voc (V) | Status | Price |
| --- | --- | --- | --- | --- | --- |
| Longi HTH | 430W | Mono PERC | 39V | Available | $68 |
| Canadian Solar Mono | 500W | Monocrystalline | 50V | Available | $70 |
| Longi Bifacial | 590W | Bifacial | 51.3V | Coming Soon | $75 |
| JA Solar Monofacial | 565W | Monocrystalline | 49V | Available | $80 |
| JA Solar Original | 555W | Monocrystalline | 49.7V | Available | $81 |
| Jinko Bifacial | 585W | Bifacial | ~50V | Available | $85 |

Note: Bifacial panels generate additional power from reflected light on the rear side (5-30% gain). Price per watt ranges from $0.12-$0.16/W.

# 2. SMALL INVERTERS (12V System / 1-1.5kVA)

Entry-level inverters for basic home backup systems and small loads.

| Model / Brand | Capacity | Battery Voltage | Type | Price |
| --- | --- | --- | --- | --- |
| Codi Transformer | 1.5kVA (1.2kW) | 12V | Transformer | $110 |
| Must Hybrid | 1kVA | 12V | PWM/MPPT | $120 |
| Sumry Hybrid | 1kVA | 12V | PWM/MPPT | $120 |

# 3. MEDIUM INVERTERS (24V System / 3-4kVA)

Mid-range inverters suitable for small homes and offices with moderate power needs.

| Model / Brand | Capacity | Battery V | PV Input | Status | Price |
| --- | --- | --- | --- | --- | --- |
| Codi Hybrid | 3.5kVA | 24V | Standard | Available | $140 |
| Sumry Hybrid | 3.2kVA | 24V | Standard | Available | $160 |
| Must Hybrid | 3.2kVA | 24V | 160VDC | Available | $165 |
| Hanchu Hybrid | 3.5kVA | 24V | Standard | Available | $180 |
| SRNE Hybrid | 3kVA | 24V | 108VDC | Available | $190 |
| Must Hybrid | 4kVA | 24V | 400VDC | Available | $200 |
| Codi Hybrid | 4kVA | 24V | 450VDC | Available | $210 |

# 4. LARGE INVERTERS (48V System / 5kVA+)

High-capacity inverters for larger homes, businesses, and commercial installations.

| Model / Brand | Capacity | Battery V | PV Input | Status | Price |
| --- | --- | --- | --- | --- | --- |
| Must VHM | 5kVA | 48V | 145VDC | Available | $290 |
| Codi High Voltage | 6.2kVA | 48V | 500VDC | Available | $290 |
| Livoltek Hybrid | 6.2kVA | 48V | 500VDC | Available | $290 |
| SRNE Ordinary | 5kVA | 48V | 500VDC | Available | $300 |
| Must Pro | 5.2kVA | 48V | 450VDC | Available | $300 |
| Must High Voltage | 6.2kVA | 48V | 500VDC | Out of Stock | $300 |
| SRNE Grid-Tie | 5kVA | 48V | 500VDC | Available | $350 |
| Growatt Hybrid | 6kVA | 48V | High V | Available | $400 |
| Deye Off-Grid | 6kVA | 48V | High V | Available | $500 |
| Primax | 8kVA | 48V | High V | Available | $700 |
| Primax II | 8kVA | 48V | High V | Available | $800 |
| Primax | 11kVA | 48V | High V | Available | $900 |
| Primax II | 11kVA | 48V | High V | Available | $1,000 |
| SRNE Transformer | 12kVA | 48V | High V | Available | $1,550 |

# 5. LEAD-ACID BATTERIES (12V Deep Cycle)

Traditional deep-cycle batteries for budget-conscious installations. Typical lifespan: 3-5 years.

| Brand | Voltage | Capacity | Type | Price |
| --- | --- | --- | --- | --- |
| Must Deep Cycle | 12V | 100Ah | AGM/Gel | $200 |
| Polaris Deep Cycle | 12V | 100Ah | AGM/Gel | $210 |

# 6. LiFePO4 BATTERIES (25.6V / 24V System)

Lithium Iron Phosphate batteries for 24V systems. Typical cycle life: 4,000-6,000 cycles. 10+ year lifespan.

| Brand | Voltage | Capacity | Energy (kWh) | Cycles | Price |
| --- | --- | --- | --- | --- | --- |
| Beesman | 25.6V | 106Ah | 2.71 kWh | ~4000 | $250 |
| Codi | 25.6V | 100Ah | 2.56 kWh | ~4000 | $280 |
| GenixGreen | 25.6V | 100Ah | 2.56 kWh | ~4000 | $300 |
| Svolt | 25.6V | 106Ah | 2.71 kWh | ~4000 | $300 |
| Leoch | 25.6V | 100Ah | 2.56 kWh | ~5000 | $300 |
| Sako | 25.6V | 100Ah | 2.56 kWh | ~4000 | $300 |
| Must Pro | 25.6V | 100Ah | 2.56 kWh | ~5000 | $320 |
| SRNE | 25.6V | 100Ah | 2.56 kWh | ~5000 | $330 |
| Must A-Grade | 25.6V | 100Ah | 2.56 kWh | ~6000 | $350 |
| Dyness | 25.6V | 100Ah | 2.56 kWh | 6000 | $350 |

# 7. LiFePO4 BATTERIES (51.2V / 48V System)

High-voltage lithium batteries for 48V systems. Ideal for larger installations and high-power inverters.

| Brand | Voltage | Capacity | Energy (kWh) | Status | Price |
| --- | --- | --- | --- | --- | --- |
| LVTopsun (Promo) | 51.2V | 100Ah | 5.12 kWh | Available | $520 |
| Leoch | 51.2V | 100Ah | 5.12 kWh | Available | $570 |
| GenixGreen | 51.2V | 100Ah | 5.12 kWh | Available | $570 |
| Deye SE-F5 (Promo) | 51.2V | 100Ah | 5.12 kWh | Available | $600 |
| Must | 51.2V | 100Ah | 5.12 kWh | Available | $650 |
| E-Volt | 51.2V | 184Ah | 9.42 kWh | Available | $700 |
| Svolt | 48V | 106Ah | 5.09 kWh | Available | $750 |
| Dyness DL5.0C | 51.2V | 100Ah | 5.12 kWh | Available | $750 |
| Must | 51.2V | 200Ah | 10.24 kWh | Available | $1,200 |

# 8. DC SOLAR WATER PUMPS

Owos brand DC pumps for solar-powered water pumping applications.

| Model | Power | Voltage Range | Max Head | Price |
| --- | --- | --- | --- | --- |
| Owos DC Pump | 0.5 HP | 30-96VDC | 47 meters | $130 |
| Owos DC Pump | 1.0 HP | 30-96VDC | 95 meters | $145 |
| Owos DC Pump | 1.5 HP | 50-150VDC | 123 meters | $160 |

# 9. COMBO DEALS & SPECIAL OFFERS

Pre-configured system packages at discounted rates.

| Package Contents | Total Value | Combo Price |
| --- | --- | --- |
| Codi 3.5kVA Inverter + 25.6V 100Ah Codi LiFePO4 Battery | ~$420 | $410 |
| SRNE 3kVA Setup (Inverter + Battery) | ~$550 | $520 |

DISCLAIMER

Prices are subject to change without notice. All prices are in USD. Availability may vary. Contact supplier for current stock and pricing. This document is for benchmarking purposes only.

Document prepared: December 2025  |  Source: Zimbabwe Solar Market Data